## CONFERENCE HALL
PROJECT |  | SMART CITY OFFICE | [7 empty] | JOB No. |  | SHEET
O0012
JOB NO. |  | O0012 | [7 empty] | REV. No. |  | DATE
[10 empty] | A |  | 12/03/2017
STRUCTURE |  | BUSINESS BUILDING | [7 empty] | CALCULATED |  | CHECKED
DOCUMENT TITLE |  | INTERIOR BOQ-CONFERENCE HALL | [7 empty] | SA |  | DR
CONFERENCE HALL
S.No. | SOR Item No. | Item of Work |  |  |  | Measurement |  |  |  | Quantity | Rate | Unit | Amount
[6 empty] | No. | L | B | H/D
First Floor
CONCRETE
1 | 17.1, Vol. 3, Pg 114 | Providing Eproxy bonding of new concrete to old concrete as per section 2800. | [8 empty] | 934 | Sqm | 154623.4665
On steped floor
|  | for profile correction-tread |  |  |  | 1 | 14 | 10.785 |  | 150.99
|  | for profile correction-riser |  |  |  | 9 |  | 10.785 | 0.15 | 14.5597
165.5498
2 | 5.30, Vol. 2, Pg 51 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement. including Admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. M-20 grade reinforced cement concrete by using 405 kg. of cement per cum of concrete. All work up to floor 2 level. | [8 empty] | 5211 | Cum | 129237.9133
Thin concrete layer on stepped floor
|  | for profile correction-tread |  |  |  | 1 | 14 | 10.785 | 0.15 | 22.6485
|  | for profile correction-riser |  |  |  | 9 | 0.075 | 10.785 | 0.15 | 1.092
In Toilet beam
|  | Below toilet wall |  |  |  | 3 | 5.115 | 0.2 | 0.2 | 0.6138
|  | Below toilet wall |  |  |  | 3 | 3.085 | 0.2 | 0.2 | 0.3702
Door lintel
|  | Toilet Doors |  |  |  | 2 | 1.05 | 0.15 | 0.1 | 0.0315
|  | Toilet Counter |  |  |  | 2 | 0.9 | 0.5 | 0.05 | 0.045
|  | Total | [7 empty] | 24.801
REINFORCEMENT
Reinforcement for Concrete
3 | 5.20.6, Vol. 2, Pg 49 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding including cost of binding wire upto floor two level including all wastage etc. complete. | [8 empty] | 60 | Kg | 31795.44
5.20.6 Thermo-Mechanically Treated bars.
|  | Reinforcement for R.C.C. work for concrete cover as per Annexure-A |  |  |  | 1 |  | 367.444 |  | 367.444
|  | Reinforcement for R.C.C. work for toilet beam as per Annexure-A |  |  |  | 1 | 0.984 | 160 |  | 157.44
|  | Reinforcement for R.C.C. work for toilet beam as per Annexure-A |  |  |  | 1 | 0.0315 | 160 |  | 5.04
|  | Total | [7 empty] | 529.924
WATER PROOFING
4 | 18.5 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | [8 empty] | 193 | Sqm | 4342.7268
|  | In Female Toilet slab |  |  |  | 1 | 1.9 | 1.7 |  | 3.23
|  | In Female Toilet wall upto 0.5m |  |  |  | 1 | 7.2 |  | 0.5 | 3.6
|  | In Male Toilet slab |  |  |  | 1 | 1 | 1.8 |  | 1.8
|  | In Male Toilet wall upto 0.5m |  |  |  | 1 | 5.6 |  | 0.5 | 2.8
|  | In Male Toilet slab |  |  |  | 1 | 1.955 | 3.085 |  | 6.0312
|  | In Male Toilet wall upto 0.5m |  |  |  | 1 | 10.08 |  | 0.5 | 5.04
|  | Total | [7 empty] | 22.5012
5 | 4.11. Vol. 2, Pg 36 | Extra for providing and mixing water proofing material in cement concrete work @ 1 kg per 50kg of cement. | [8 empty] | 61 | Per 50 kg cement | 492.1968
In Toilet beam
|  | Qty as above in concrete |  |  |  | 3 | 5.115 | 0.2 | 0.2 | 0.6138
|  | Qty as above in concrete |  |  |  | 3 | 3.085 | 0.2 | 0.2 | 0.3702
|  | Volume of Concrete | [7 empty] | 0.984
|  | Nos of Bag@410 kg or 8.2bags per cum | [7 empty] | 8.0688
CENTERING & SHUTTERING
6 | 20.1.5, Vol. 2, Pg 209 | Centering & shuttering propping and removal of form for | [8 empty] | 203 | Sqm | 5515.713
20.1.5 Lintels, beams, plinth beams, girders, bressumers and cantilevers.
|  | For step profile correction |  |  |  | 20 |  | 4.397 | 0.15 | 13.191
|  | For step profile correction |  |  |  | 20 |  | 1.1 | 0.15 | 3.3
|  | Below toilet wall |  |  |  | 3 | 5.115 |  | 0.4 | 6.138
|  | Below toilet wall |  |  |  | 3 | 3.085 |  | 0.4 | 3.702
|  | Door lintel |  |  |  | 2 | 1.05 |  | 0.4 | 0.84
|  | Total | [7 empty] | 27.171
BRICKWORK
7 | 6.39, Vol. 2, Pg 62 | Brick work will well burnt open bhatta bricks crushing strength not less than 25kg/cm² and water absoption not more than 20% in above plinth level upto floor two level In cm 1:4. | [8 empty] | 3136 | CuM | 55444.7936
|  | For toilet wall |  |  |  | 1 | 3.085 | 0.23 | 4 | 2.8382
|  | For step profile correction |  |  |  | 20 | 0.9 | 4.397 | 0.15 | 11.8719
|  | For step profile correction |  |  |  | 20 | 0.9 | 1.1 | 0.15 | 2.97
|  | Total | [7 empty] | 17.6801
8 | 6.44, Vol. 2, Pg 62 | Half brick masonry with open bhatta of class designation 25 in superstructure above plinth level upto floor 2 level including the cost of scaffolding. | [8 empty] | 451 | Sqm | 32313.045
Cement mortar 1 : 3
Toilet
|  | In X direction |  |  |  | 1 | 1.7 |  | 4 | 6.8
|  | In X direction |  |  |  | 1 | 1 |  | 4 | 4
|  | In X direction |  |  |  | 1 | 0.6 |  | 4 | 2.4
|  | In X direction |  |  |  | 1 | 5.115 |  | 4 | 20.46
|  | In Y direction |  |  |  | 1 | 3.085 |  | 4 | 12.34
|  | In Y direction |  |  |  | 1 | 1.285 |  | 4 | 5.14
|  | In Y direction |  |  |  | 1 | 1.8 |  | 2.1 | 3.78
|  | Existing Control room wall |  |  |  | 1 | 3.483 |  | 4 | 13.932
|  | Existing Control room wall |  |  |  | 1 | 1.2 |  | 4 | 4.8
Deduction
|  | toilet door |  |  |  | -2 | 0.85 | 0.23 | 2.1 | -0.8211
|  | toilet door |  |  |  | -1 | 0.75 | 0.23 | 2.1 | -0.36225
|  | toilet Opening |  |  |  | -2 | 0.85 | 0.23 | 2.1 | -0.8211
|  | Total | [7 empty] | 71.6475
CEMENT PLASTER
9 | 13.16, Vol. 2, Pg 157 | 6 mm cement plaster of mix :
1:3 (1 cement: 3 fine sand)
|  | Toilet ceiling |  |  |  | 1 | 5.115 | 3.085 |  | 15.7798
|  | Passage ceiling |  |  |  | 1 | 5.115 | 2 |  | 10.23
|  | Total | [7 empty] | 26.0098 | 83 | Sqm | 2158.8113
10 | 13.1, Vol. 2, Pg 156 | 12 mm cement plaster of mix : | [8 empty] | 102 | Sqm
|  | 1:5 (1 cement: 5 fine sand) | [10 empty] | 33200.5002
On Vertical faces in following araes
|  | On half brick wall surface (value from brick qty X 2) | [7 empty] | 143.2951
|  | Full brick wall surface (value from brick work /0.23x2) | [7 empty] | 153.74
|  | Old existing walls adjacent to conference Hall |  |  |  | 1 | 5.115 |  | 4 | 20.46
|  | Old existing walls adjacent to conference Hall |  |  |  | 1 | 2 |  | 4 | 8
|  | Total | [7 empty] | 325.4951
FLOORING
11 | 11.39 Vol. 2, Pg 135 | Providing and laying polished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption's less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc., complete. | [8 empty] | 1109 | SqM | 15029.7225
11.39.2 Size of Tile 60x60 cm x 10 mm
|  | Passage floor |  |  |  | 1 | 5.115 | 2 |  | 10.23
|  | toilet entry |  |  |  | 1 | 1 | 1.285 |  | 1.285
|  | toilet entry |  |  |  | 1 | 1.7 | 1.07 |  | 1.819
|  | opening |  |  |  | 1 | 1 | 0.115 |  | 0.115
|  | opening |  |  |  | 1 | 0.9 | 0.115 |  | 0.1035
|  | Total | [7 empty] | 13.5525
13 | 8.2 Vol. 2, Pg78 | Providing and fixing 16mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. | [8 empty] | 2544 | SqM | 3472.56
8.2.8 Granite of any colour and shade
8.2.8.2 Area of slab over 0.50 sqm
|  | Male Toilet counter |  |  |  | 1 | 0.9 | 0.5 |  | 0.45
|  | Border |  |  |  | 1 | 0.1 | 1.4 |  | 0.14
|  | Female Toilet counter |  |  |  | 1 | 1.27 | 0.5 |  | 0.635
|  | Border |  |  |  | 1 | 0.1 | 1.4 |  | 0.14
|  | Total | [7 empty] | 1.365
14 | Non SOR item (ref MP PWD-11.60,page 207) | Providing and laying Antiskid endura floor tiles of any sizes, 12mm thickness with water absorption less than .08% and confirming to IS: 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar….maching pigment etc, complete. | [8 empty] | 880 | SqM | 9733.834
|  | Toilet floor, As per plan |  |  |  | 1 | 1.7 | 1.9 |  | 3.23
|  | Toilet floor, As per plan |  |  |  | 1 | 1 | 1.8 |  | 1.8
|  | Toilet floor, As per plan |  |  |  | 1 | 1.955 | 3.085 |  | 6.0312
|  | Total | [7 empty] | 11.0612
15 | 11.34 Vol. 2, Pg134 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (6 to 7mm thick) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in- Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete.
Male toilet
|  | Dado |  |  |  | 2 | 3.085 |  | 2.4 | 14.808
|  | Dado |  |  |  | 2 | 0.6 |  | 2.4 | 2.88
|  | Dado |  |  |  | 1 | 0.15 |  | 2.4 | 0.36
|  | Dado |  |  |  | 2 | 1.955 |  | 2.4 | 9.384
|  | Dado |  |  |  | 2 | 1.8 |  | 2.4 | 8.64
|  | Dado |  |  |  | 2 | 1 |  | 2.4 | 4.8
Female toilet
|  | Dado |  |  |  | 2 | 1.7 |  | 2.4 | 8.16
|  | Dado |  |  |  | 2 | 1.9 |  | 2.4 | 9.12
Deduction
|  | Door |  |  |  | -2 | 0.55 |  | 1.95 | -2.145
|  | Door |  |  |  | -1 | 0.45 |  | 1.95 | -0.8775
|  | Total | [7 empty] | 55.1295 | 686 | SqM | 37818.837
16 | Non SOR item (ref 11.33 MP PWD page 203 in force from August 1st 2014) | Providing and laying Prepoished Granite stone work 18mm thick of any colour in riser of steps,skirting, dado and pillars laid on 12mm average thick cement mortar 1:3 (1 cement : 3 sand) and jointed with cement slurry and pointing with white cement slurry admixed with pigment to match the shade of slab | [8 empty] | 3413 | SqM | 70734.425
Dado
|  | passage |  |  |  | 2 | 5.115 |  | 1 | 10.23
|  | passage |  |  |  | 1 | 1 |  | 1 | 1
|  | toilet entry |  |  |  | 1 | 1.7 |  | 1 | 1.7
|  | toilet entry |  |  |  | 2 | 1.07 |  | 1 | 2.14
|  | toilet entry |  |  |  | 2 | 1.285 |  | 1 | 2.57
|  | lobby |  |  |  | 1 | 3.085 |  | 1 | 3.085
|  | Total | [7 empty] | 20.725
JOINERIES
17 | 10.14.2 Vol. 2, Pg 115 | Providing and fixing pressed steel frames for doors, windows & ventilators confirming to IS: 4351manufactured from commercial mild steel sheet of 1.25 mm thickness including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm, or base ties of 1.25mm pressed mild steel welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail to each jamb including steel butt hinges 2.5mm thick with mortar guards, lock strike- plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: 10.14.2 Single rebate 100x50mm | [8 empty] | 334 | RM | 8416.8
|  | (1800 x 2200 mm) Conf. Hall door |  |  |  | 1 | 6.2 |  |  | 6.2
|  | (850 x 2100 mm) toilet door |  |  |  | 2 | 3.8 |  |  | 7.6
|  | (750 x 2100 mm) toilet door |  |  |  | 1 | 3.6 |  |  | 3.6
|  | (600 x 450 mm) toilet ventilator |  |  |  | 2 | 2.1 |  |  | 4.2
|  | (450 x 450 mm) toilet ventilator |  |  |  | 2 | 1.8 |  |  | 3.6
|  | Total | [7 empty] | 25.2
18 | Non SOR item (ref 9.18 MP PWD page 135) | Providing and fixing ISi marked flush door shutters conforming to IS: 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters of such as duro board, century or equivelant make. 9.18.2 30 mm thick including ISI marked Stainless Steel, butt hinges with necessary screws. | [10 empty] | 33324.3
|  | (1800 x 2200 mm) Conf. Hall door |  |  |  | 1 | 1.8 | 2.2 |  | 3.96
|  | (850 x 2100 mm) toilet door |  |  |  | 2 | 0.85 | 2.1 |  | 3.57
|  | (750 x 2100 mm) toilet door |  |  |  | 1 | 0.75 | 2.1 |  | 1.575
|  | Total | [7 empty] | 9.105 | 3660 | SqM
|  | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | [7 empty] | 3332.43
19 | 9.10.12 Vol. 2, Pg 88,89 | Providing and fixing factory made laminated veneer lumber glazed shutter conforming to IS: 14616 and TADS 15:2001 (Part B) , using 4mm thick float glass panes for doors, windows and clerestory windows including ...Engineer-in-charge. 9.10.1 30 mm thick shutters @Rs. 2006/- per sqm | [8 empty] | 2186 | sqm | 2655.99
Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm ...... (Area of opening for glass panes excluding portion inside rebateshall be measured). @Rs. 180/- per sqm Total Rate Rs. 2006+180 = 2186/-
|  | V1 (900 x 450 mm) |  |  |  | 2 | 0.9 | 0.45 |  | 0.81
|  | V2 (450 x 450 mm) |  |  |  | 2 | 0.45 | 0.45 |  | 0.405
|  | Total | [7 empty] | 1.215
|  | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | [7 empty] | 265.599
PAINTING
20 | 13.48.3 Vol. 2, Pg 162 | Painting Steel work with Deluxe Multi Surface Paint to give an even shade. Two or more coat applied @0.90 ltr/10 sqm over an under coat of primer applied @ 0.80 ltr/ 10 sqm of approved brand or manufacture | [8 empty] | 65 | sqm | 491.4
Frame
|  | (1800 x 2200 mm) Conf. Hall door |  |  |  | 1 | 6.2 | 0.3 |  | 1.86
|  | (850 x 2100 mm) toilet door |  |  |  | 2 | 3.8 | 0.3 |  | 2.28
|  | (750 x 2100 mm) toilet door |  |  |  | 1 | 3.6 | 0.3 |  | 1.08
|  | (600 x 450 mm) toilet ventilator |  |  |  | 2 | 2.1 | 0.3 |  | 1.26
|  | (450 x 450 mm) toilet ventilator |  |  |  | 2 | 1.8 | 0.3 |  | 1.08
|  | Total | [7 empty] | 7.56
21 | 13.26 Vol. 2, Pg 159 | Providing and applying 1.5 mm thick (in two coat) white cement based wall putty of best quality, over plastered surface to prepare the surface even and smooth complete. | [8 empty] | 82 | SqM | 24302.7807
|  | Quantity as above in Plaster (Internal+External-Dado) | [7 empty] | 296.3754
22 | 13.48.1 Vol. 2, Pg 161 | Finishing wall with Delux multi surface Paint system for Interiors and exteriors using primer as per Specification - Two or more coats applied @1.25Ltr/ 10 sqm over & including one coat of special primer applied @0.75Ltr/ 10 sqm | [8 empty] | 75 | SqM | 24178.8862
|  | Quantity as above in putty + ceiling plaster | [7 empty] | 322.3851
FALSE CEILING
23 | 12.45 Vol. 2, Pg 150 | Providing and fixing at all height false ceiling including providing and fixing of frame work made of special sections power pressed from M.S. sheet and galvanised in accordance with zinc coating of grade 350 as per IS : 277 and consisting of angle cleats of size 25mm wide x 1.6mm thick with flanges of 22mm and 37mm at 1200mm centre to centre one flange fixed to the ceiling with dash fastener 12.5mm diax40mm long with 6mm dia bolts to the angle hangers of 25x25x0.55mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45x15x0.9mm running at the | [8 empty] | 718 | SqM | 77291.8025
rate of 1200mm centre to centre to which the ceiling section 0.5mm thick button wedge of 80mm with tapered flanges of 26mm each having clips of 10.5mm at 450mm centre to centre shall be fixed in a direction perpendicular to G.I. channel with connecting clips made out of 2.64mm dia 230mm long G.I. wire at every junction including fixing the gypsum board with ceiling section and peri meter channels 0.5mm thick 27mm high having flanges of 20mm and 30mm long,
the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450mm centre to centre with 25mm long drive-all screws @ 230mm interval including jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed all complete as per drawing and specification and direction of the Engineer in Charge but excluding the cost of painting with :
12.5 mm thick tapered edge gypsum board conforming to IS: 2095- Part I.
|  | Passage |  |  |  | 1 | 5.115 | 2 |  | 10.23
|  | Periphery border-side |  |  |  | 2 | 10.7 | 1.1 |  | 23.54
|  | Periphery border-back |  |  |  | 1 | 8.585 | 1.7 |  | 14.5945
|  | stage |  |  |  | 1 | 9.0275 | 3.3 |  | 29.7907
|  | side drop |  |  |  | 2 | 9 | 0.7 |  | 12.6
|  | back drop |  |  |  | 1 | 8.585 | 0.7 |  | 6.0095
|  | front drop |  |  |  | 1 | 8.585 | 0.8 |  | 6.868
|  | Middle band |  |  |  | 2 | 8.585 | 0.8 |  | 13.736
Deduction
|  | glass fire panel over stage |  |  |  | -1 | 1.8 | 5.4 |  | -9.72
|  | Total | [7 empty] | 107.6487
.
24 | Non SOR Item (Ref - 12.64 , Pg 233 MP PWD ) | Glass fibre accoustical suspended false ceiling | [8 empty] | 2461 | Sqm | 214070.085
|  | Panel in middle of hall |  |  |  | 3 | 3 | 8.585 |  | 77.265
|  | Panel over stage |  |  |  | 1 | 1.8 | 5.4 |  | 9.72
|  | Total | [7 empty] | 86.985
WALL PANELLING
25 | Non SOR Item (Ref - 9.147 , Pg 156 MP PWD in force from August 1st 2014) | Providing and Installation of Accoustical wall Panelling fabric finish hardened square edge……….. | [8 empty] | 7566 | Sqm | 285994.8
|  | Side walls |  |  |  | 6 | 2.4 | 2.1 |  | 30.24
|  | back side wall |  |  |  | 6 | 0.6 | 2.1 |  | 7.56
|  | Total | [7 empty] | 37.8
.
26 | Non SOR Item (Ref - 9.148 , Pg 156 MP PWD in force from August 1st 2014) | Providing and Installation of Accoustical wall Panelling Wood finish slats made out of HDF board, Melamine / Veneer laminated finish……….. | [8 empty] | 5179 | Sqm | 742038.4452
|  | Side walls |  |  |  | 2 | 3.15 | 4.5 |  | 28.35
|  | Side walls |  |  |  | 2 | 3.15 | 4 |  | 25.2
|  | Side walls |  |  |  | 2 | 3.15 | 3.475 |  | 21.8925
|  | Side walls |  |  |  | 2 | 1.85 | 3 |  | 11.1
|  | front walls |  |  |  | 1 | 8.47 | 4.025 |  | 34.0918
|  | front walls |  |  |  | 1 | 3.483 | 4.025 |  | 14.0191
|  | front walls |  |  |  | 1 | 1.2 | 4.025 |  | 4.83
|  | back side wall |  |  |  | 1 | 10.785 | 3 |  | 32.355
Deduction
|  | cutout for fabric in wall |  |  |  | -6 | 2 | 2 |  | -24
|  | fabric in back side wall as above |  |  |  | -6 | 0.4 | 1.9 |  | -4.56
|  | Total | [7 empty] | 143.2783
.
27 | Non SOR Item (Ref - 9.143 , Pg 155 MP PWD ) | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50xl.6mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically and horizontally ) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge.
For wall partition
|  | wall between conference room and sport room |  |  |  | 1 | 10.7 |  | 4.788 | 51.2316
|  | wall between conference room and sport room |  |  |  | 1 | 3.3 |  | 1.425 | 4.7025
|  | stage and surrounding floor (area 39.21 sqm) |  |  |  | 1 | 39.2085 |  |  | 39.2085
|  | Area of frame | [7 empty] | 95.1426
|  | Frame single unit size (0.6X0.6=0.36Sqm) | [7 empty] | 0.36
|  | (A) Nos of units | [7 empty] | 264.285
|  | (B) Weight of frame per unit as per Annexure-A (kg) | [7 empty] | 3.0144
|  | (C) total weight (AXB) | [7 empty] | 796.6607
For flooring legs
|  | (D) stage and surrounding floor leg length |  |  |  | 110 |  |  | 0.45 | 49.5
|  | (E) leg unit weight (2.512 kg/m) as per Annexure-A | [7 empty] | 2.512
|  | (F) total weight (DXE) | [7 empty] | 124.344
|  | Total C+F | [7 empty] | 921.0047 | 101 | Kg | 93021.4751
.
28 | Non SOR Item (Ref - 9.150 , Pg 157 MP PWD in force from August 1st 2014) | Providing and fixing plain lining with necessary screws/nuts and bolts/ nails including a coat of approved primer on one face and fixed on wooden /steel frame work complete as per direction of Engineer-in-charge. (Frame work shall be paid for separately) 9.150.1 12mm thick commercial ply conforming to IS : 1328 BWRtype. | [8 empty] | 1040 | Sqm | 139725.144
|  | wall between conference room and sport room |  |  |  | 1 | 10.7 |  | 4.788 | 51.2316
|  | wall between conference room and sport room |  |  |  | 1 | 3.3 |  | 1.425 | 4.7025
|  | stage and surrounding floor (over frame work in two layers ) (area 39.21 sqm) |  |  |  | 2 | 39.2085 |  |  | 78.417
|  | Total | [7 empty] | 134.3511
.
29 | 12.35 Vol. 2, Pg 148 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8193. Density 16kg/m3 , 50mm thick, wrapped in 200G Virgin Polythene bags placed over existing false ceiling and held in position by criss-crossing GI wire. | [8 empty] | 242 | Sqm | 13567.125
|  | wall between conference room and sport room |  |  |  | 1 | 10.7 |  | 4.8 | 51.36
|  | wall between conference room and sport room |  |  |  | 1 | 3.3 |  | 1.425 | 4.7025
|  | Total | [7 empty] | 56.0625
MISCELLANEOUS
31 | UADD 2012(ref: 15.7.4) | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 meters lead as per direction of Engineer - in - charge. In cement mortar. |  |  |  | 1 | 7.5 | 7 | 0.23 | 12.075 | 401 | CuM | 4842.075
[6 empty] | 2 | 3.3 | 3.3 | 0.22 | 4.7916 | 401 | CuM | 1921.4316
32 | UADD 2012 (ref: 15.2.2) | Demolishing cement concrete mannually/mechanical means including disposal of material within 50 mtr. Leads as per direction of ETC. |  |  |  | 1 | 30 | 35 | 0.075 | 78.75 | 293 | CuM | 23073.75
33 | UADD 2012 (ref: 15.3) | Demolishing R.C.C. work manually /by mechanical means including stacking of steel bar sand disposal of unserviceable material within 50 meters lead as per direction of Engineer-in-incharge. |  |  |  | 3 | 4 | 0.15 | 0.23 | 0.414 | 694 | CuM | 287.316
34 | Non SOR Item (Ref - 18.7.1 , MP PWD in force from August 1st 2014) | (a) Providing and fixing chlorinated polyvinyl chloride (CPVC) pipes, having thermal stability for hot and cold water supply including all CPVC plain and brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes and fittings withone step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work- Exposedon wall.20 mm dia pipe. |  |  |  | 1 | 25 |  |  | 25 | 153 | Mtr | 3825
35 | Non SOR Item (Ref - 18.7.2 , MP PWD in force from August 1st 2014) | (b) 25 mm dia pipe |  |  |  | 1 | 15 |  |  | 15 | 177 | Mtr | 2655
36 | UADD 2012 (ref : 12.42.3.2) | Providing and fixing on wall face unplasticised-PVC moulded fittings / accessories for unplasticised Rigid PVC rain water pipes conforming to IS:13592 Type A including jointing with sealring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.110x110x110 mm |  |  |  | 4 |  |  |  | 4 | 504 | Nos | 2016
37 | UADD 2012 (ref:12.42.5.2) | Bend 110 mm |  |  |  | 5 |  |  |  | 5 | 258 | Nos | 1290
38 | Non SOR Item (Ref - 25.6.1 , MP PWD in force from August 1st 2014) | Anti germ fluoro-Polymer Coated couple water closet size 760x360x635 mm with solid poly propelyne made soft closing seat cover. |  |  |  | 2 |  |  |  | 2 | 18369 | Nos | 36738
39 | Non SOR Item (Ref - 25.7.1 , MP PWD in force from August 1st 2014) | White vetrious China Anti germ Fluoro-Polymer coated wash basin size 160x580x450 mm with basin mounted pressmatic pillar cock auto closing system (decol technology).. |  |  |  | 2 |  |  |  | 2 | 13520 | Nos | 27040
40 | Non SOR Item (Ref - 25.21 , MP PWD in force from August 1st 2014) | Providing and fixing in posiiton best indian CP brass made (0.3 micron Chrom and 10 micron Nickel Plated) Toilet paper holder with flap. |  |  |  | 2 |  |  |  | 2 | 1620 | Nos | 3240
41 | Non SOR Item (Ref - 25.41 , MP PWD in force from August 1st 2014) | Providing and fixing in position best Indian CP brass made (0.3 micron chrom and 10 micron Nickel plated) Single towel Rail 600 mm long. |  |  |  | 2 |  |  |  | 2 | 2520 | Nos | 5040
42 | Non SOR Item (Ref - 25.14.1 , MP PWD in force from August 1st 2014) | White vetrious China made Flat Back Anti germ fluoro polymer coated urinal (Inbuilt spreader, inbuilt bottle trape and inbuilt ceramic waste coupling) Size 710x 480x300 mm with sensor. |  |  |  | 2 |  |  |  | 2 | 20014 | Nos | 40028
43 | Non SOR Item (Ref - 25.50 , MP PWD in force from August 1st 2014) | Providing and fixing in position best india real foucet 8 mm dia and 1 mtr long flexible tube and wall mounted with NRV |  |  |  | 2 |  |  |  | 2 | 1920 | Nos | 3840
44 | Non SOR Item (Ref - MP PWD in force from August 1st 2014) | Providing and laying PVC pipe um plasticised to with sand working pressure 4 kg/cm2 waste pipe confirming to IS 13592 incl-all necessary fitting etc complete 110 mm dia. |  |  |  | 15 |  |  |  | 15 | 159 | Mtr | 2385
|  | Total | [10 empty] | 2406812.6204

## SPORTS ROOMS
PROJECT |  | SMART CITY OFFICE | [7 empty] | JOB No. |  | SHEET
O0012
JOB NO. |  | O0012 | [7 empty] | REV. No. |  | DATE
[10 empty] | A |  | 12/03/2017
STRUCTURE |  | BUSINESS BUILDING | [7 empty] | CALCULATED |  | CHECKED
DOCUMENT TITLE |  | INTERIOR BOQ-SPORTS ROOMS | [7 empty] | SA |  | DR
SPORTS ROOMS
S.No. | SOR Item No. | Item of Work |  |  |  | Measurement |  |  |  | Quantity | Rate | Unit | Amount
[6 empty] | No. | L | B | H/D
first floor
CONCRETE
1 | 5.30, Vol. 2, Pg 51 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement. including Admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. M-20 grade reinforced cement concrete by using 405 kg. of cement per cum of concrete. All work up to floor 2 level. | [8 empty] | 5211 | Cum | 1563.3
Thin concrete layer on stepped floor
Beam
|  | Below breakout area wall |  |  |  | 1 | 2.3 | 0.2 | 0.2 | 0.092
|  | Below breakout area wall |  |  |  | 1 | 5.2 | 0.2 | 0.2 | 0.208
|  | Total | [7 empty] | 0.3
REINFORCEMENT
Reinforcement for Concrete
2 | 5.20.6, Vol. 2, Pg 49 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding including cost of binding wire upto floor two level including all wastage etc. complete. | [8 empty] | 60 | Kg | 2880
5.20.6 Thermo-Mechanically Treated bars.
|  | Reinforcement for R.C.C. work for toilet beam as per Annexure-A |  |  |  | 1 | 0.3 | 160 |  | 48
|  | Total | [7 empty] | 48
CENTERING & SHUTTERING
3 | 20.1.5, Vol. 2, Pg 209 | Centering & shuttering propping and removal of form for | [8 empty] | 203 | Sqm | 609
20.1.5 Lintels, beams, plinth beams, girders, bressumers and cantilevers.
|  | Below breakout area wall |  |  |  | 1 | 2.3 |  | 0.4 | 0.92
|  | Below toilet wall |  |  |  | 1 | 5.2 |  | 0.4 | 2.08
|  | Total | [7 empty] | 3
BRICKWORK
4 | 6.44, Vol. 2, Pg 62 | Half brick masonry with open bhatta of class designation 25 in superstructure above plinth level upto floor 2 level including the cost of scaffolding. | [8 empty] | 451 | Sqm | 13530
Cement mortar 1 : 3
Breakout area
|  | In X direction |  |  |  | 1 | 2.3 |  | 4 | 9.2
|  | In Y direction |  |  |  | 1 | 5.2 |  | 4 | 20.8
|  | Total | [7 empty] | 30
CEMENT PLASTER
5 | 13.16, Vol. 2, Pg 157 | 6 mm cement plaster of mix :
1:3 (1 cement: 3 fine sand)
|  | breakout ceiling |  |  |  | 1 | 2.3 | 2.996 |  | 6.8908
|  | breakout ceiling |  |  |  | 1 | 4.4 | 5.2 |  | 22.88
|  | Total | [7 empty] | 29.7708 | 83 | Sqm | 2470.9764
6 | 13.1, Vol. 2, Pg 156 | 12 mm cement plaster of mix : | [8 empty] | 102 | Sqm
|  | 1:5 (1 cement: 5 fine sand) | [10 empty] | 13911.984
On Vertical faces in following araes
|  | On half brick wall surface (value from brick qty X 2) | [7 empty] | 60
|  | Old existing walls in steps area |  |  |  | 1 | 14 |  | 4.8 | 67.2
|  | Old existing walls in common room |  |  |  | 1 | 1.915 |  | 4.8 | 9.192
|  | Total | [7 empty] | 136.392
FLOORING
7 | 11.39 Vol. 2, Pg 135 | Providing and laying polished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption's less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigments etc., complete. | [8 empty] | 1109 | SqM | 33015.8172
11.39.2 Size of Tile 60x60 cm x 10 mm
|  | Breakout area |  |  |  | 1 | 4.4 | 5.2 |  | 22.88
[6 empty] | 1 | 2.3 | 2.996 |  | 6.8908
|  | Total | [7 empty] | 29.7708
8 | Non Sor Item (ref : MP PWD 2014 11.81 Page 211) | Providing and fixing 8mm thick tongued and grooved AC-4 grade prelaminated wooden flooring………………….of floor with POP | [8 empty] | 1453 | SqM | 95564.5365
|  | Billiard Room |  |  |  | 1 | 6.2 | 9.09 |  | 56.358
|  | Table Tennis Room |  |  |  | 1 | 2.5 | 1.425 |  | 3.5625
5.85
|  | Total | [7 empty] | 65.7705
9 | Non SOR item (ref 11.80 MP PWD page 211 in force from August 1st 2014) | Providing and fixing 4.5mm thick homogenous single layered vinyl flooring, glass fiber tissues reinforced. The flooring shall be laid in a manner to provide comfortable and jerk free surface for places e.g.gym and like. | [8 empty] | 1729 | SqM | 110484.3967
|  | Table Tennis Room |  |  |  | 1 | 7.725 | 7.175 |  | 55.4269
|  | Common room |  |  |  | 1 | 4.425 | 1.915 |  | 8.4739
|  | Total | [7 empty] | 63.9007
10 | Non SOR item (ref 11.32 MP PWD page 203 in force from August 1st 2014) | Providing and laying Flamed finished Granite stone flooring in required design and patterns in linear as wel as curvilinear portions of the buildings with 18mm thick slab over 20mm (average ) thick base of cement mortar 1:4(1 cement : 4 sand) laid and joined with cement slurry and pointing with white cement slurry admixed with pigment of maching shade including rubbing curing and polishing etc. all complete as specified and as directed by Engineer-in-Charge. a)Flamed finished Granite stone slab Jet Black, Cherry Red,Elite Brown, Cat eye or equivalent. | [8 empty] | 3663 | SqM | 25641
Steps
|  | Tread |  |  |  | 10 | 1.4 | 0.5 |  | 7
|  | Landing |  |  |  | 1 | 1.4 | 2.8 |  | 3.92
|  | Landing |  |  |  | 1 | 1.4 | 2.7 |  | 3.78
|  | Landing |  |  |  | 1 | 1.4 | 2.35 |  | 3.29
|  | Total | [7 empty] | 7
11 | Non SOR item (ref 11.33 MP PWD page 203 in force from August 1st 2014) | Providing and laying Prepoished Granite stone work 18mm thick of any colour in riser of steps,skirting, dado and pillars laid on 12mm average thick cement mortar 1:3 (1 cement : 3 sand) and jointed with cement slurry and pointing with white cement slurry admixed with pigment to match the shade of slab | [8 empty] | 3413 | SqM | 7884.03
Steps
|  | Riser |  |  |  | 11 | 1.4 |  | 0.15 | 2.31
|  | Total | [7 empty] | 2.31
JOINERIES
12 | 10.14.2 Vol. 2, Pg 115 | Providing and fixing pressed steel frames for doors, windows & ventilators confirming to IS: 4351manufactured from commercial mild steel sheet of 1.25 mm thickness including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm, or base ties of 1.25mm pressed mild steel welded or rigidly fixed together by mechanical means, adjustable lugs with split end tail to each jamb including steel butt hinges 2.5mm thick with mortar guards, lock strike- plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: 10.14.2 Single rebate 100x50mm | [8 empty] | 334 | RM | 8917.8
|  | (1800 x 2200 mm) Conf. Hall door |  |  |  | 1 | 6.2 |  |  | 6.2
|  | (1000 x 2100 mm) rooms door |  |  |  | 2 | 4.1 |  |  | 8.2
|  | (900 x 2100 mm) common room |  |  |  | 1 | 3.9 |  |  | 3.9
|  | (600 x 450 mm) toilet ventilator |  |  |  | 4 | 2.1 |  |  | 8.4
|  | Total | [7 empty] | 26.7
13 | Non SOR item (ref 9.18 MP PWD page 135) | Providing and fixing ISI marked flush door shutters conforming to IS: 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters of such as duro board, century or equivelant make. 9.18.2 30 mm thick including ISI marked Stainless Steel, butt hinges with necessary screws. | [10 empty] | 36783
|  | (1800 x 2200 mm) Conf. Hall door |  |  |  | 1 | 1.8 | 2.2 |  | 3.96
|  | (1000 x 2100 mm) rooms door |  |  |  | 2 | 1 | 2.1 |  | 4.2
|  | (900 x 2100 mm) common room |  |  |  | 1 | 0.9 | 2.1 |  | 1.89
|  | Total | [7 empty] | 10.05 | 3660 | SqM
|  | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | [7 empty] | 3678.3
14 | 9.10.12 Vol. 2, Pg 88,89 | Providing and fixing factory made laminated veneer lumber glazed shutter conforming to IS: 14616 and TADS 15:2001 (Part B) , using 4mm thick float glass panes for doors, windows and clerestory windows including ...Engineer-in-charge. 9.10.1 30 mm thick shutters @Rs. 2006/- per sqm | [8 empty] | 2186 | sqm | 3541.32
Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm ...... (Area of opening for glass panes excluding portion inside rebateshall be measured). @Rs. 180/- per sqm Total Rate Rs. 2006+180 = 2186/-
|  | V1 (900 x 450 mm) |  |  |  | 4 | 0.9 | 0.45 |  | 1.62
|  | Total | [7 empty] | 1.62
|  | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | Add 10% for fittings etc. | [7 empty] | 354.132
PAINTING
15 | 13.48.3 Vol. 2, Pg 162 | Painting Steel work with Deluxe Multi Surface Paint to give an even shade. Two or more coat applied @0.90 ltr/10 sqm over an under coat of primer applied @ 0.80 ltr/ 10 sqm of approved brand or manufacture | [8 empty] | 65 | sqm | 520.65
Frame
|  | (1800 x 2200 mm) Conf. Hall door |  |  |  | 1 | 6.2 | 0.3 |  | 1.86
|  | (1000 x 2100 mm) rooms door |  |  |  | 2 | 4.1 | 0.3 |  | 2.46
|  | (900 x 2100 mm) common room |  |  |  | 1 | 3.9 | 0.3 |  | 1.17
|  | (600 x 450 mm) toilet ventilator |  |  |  | 4 | 2.1 | 0.3 |  | 2.52
|  | Total | [7 empty] | 8.01
16 | 13.26 Vol. 2, Pg 159 | Providing and applying 1.5 mm thick (in two coat) white cement based wall putty of best quality, over plastered surface to prepare the surface even and smooth complete. | [8 empty] | 82 | SqM | 13625.3496
|  | Quantity as above in Plaster (Internal) | [7 empty] | 166.1628
17 | 13.48.1 Vol. 2, Pg 161 | Finishing wall with Delux multi surface Paint system for Interiors and exteriors using primer as per Specification - Two or more coats applied @1.25Ltr/ 10 sqm over & including one coat of special primer applied @0.75Ltr/ 10 sqm | [8 empty] | 75 | SqM | 12462.21
|  | Quantity as above in putty + ceiling plaster | [7 empty] | 166.1628
FALSE CEILING
18 | 12.45 Vol. 2, Pg 150 | Providing and fixing at all height false ceiling including providing and fixing of frame work made of special sections power pressed from M.S. sheet and galvanised in accordance with zinc coating of grade 350 as per IS : 277 and consisting of angle cleats of size 25mm wide x 1.6mm thick with flanges of 22mm and 37mm at 1200mm centre to centre one flange fixed to the ceiling with dash fastener 12.5mm diax40mm long with 6mm dia bolts to the angle hangers of 25x25x0.55mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45x15x0.9mm
running at the rate of 1200mm centre to centre to which the ceiling section 0.5mm thick button wedge of 80mm with tapered flanges of 26mm each having clips of 10.5mm at 450mm centre to centre shall be fixed in a direction perpendicular to G.I. channel with connecting clips made out of 2.64mm dia 230mm long G.I. wire at every junction including fixing the gypsum board with ceiling section and peri meter channels 0.5mm thick 27mm high having flanges of 20mm and 30mm long,
the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450mm centre to centre with 25mm long drive-all screws @ 230mm interval including jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed all complete as per drawing and specification and direction of the Engineer in Charge but excluding the cost of painting with :
12.5 mm thick tapered edge gypsum board conforming to IS: 2095- Part I.
|  | steps |  |  |  | 1 | 14 | 1.35 |  | 18.9
|  | common room |  |  |  | 1 | 4.425 | 1.915 |  | 8.4739
|  | Table tennis room |  |  |  | 1 | 7.725 | 2.175 |  | 16.8019
|  | Billiards room |  |  |  | 1 | 6.2 | 1.24 |  | 7.688
|  | Billiards room |  |  |  | 1 | 6.2 | 9.09 |  | 56.358
Deduction
|  | for wooden acoustical ceiling |  |  |  | -1 | 2.4 | 5.85 |  | -14.04
|  | Total | [7 empty] | 94.1818 | 718 | SqM | 67622.4965
.
19 | Non SOR Item (Ref - 12.64 , Pg 233 MP PWD ) | Glass fibre accoustical suspended false ceiling | [8 empty] | 2461 | Sqm | 95056.125
|  | table tennis |  |  |  | 1 | 5 | 7.725 |  | 38.625
|  | Total | [7 empty] | 38.625
.
20 | Non SOR Item (Ref - 9.148 , Pg 156 MP PWD in force from August 1st 2014) | Providing and Installation of Accoustical wall Panelling Wood finish slats made out of HDF board, Melamine / Veneer laminated finish……….. | [8 empty] | 5179 | Sqm | 72713.16
|  | wooden acoustical ceiling in Billiards room |  |  |  | 1 | 2.4 | 5.85 |  | 14.04
|  | Total | [7 empty] | 14.04
WALL & CEILING PANELLING
21 | Non SOR Item (Ref - 9.143 , Pg 155 MP PWD ) | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50xl.6mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically and horizontally ) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge.
For wall partition
|  | wall between both sport room |  |  |  | 1 | 9.09 |  | 4.8 | 43.632
|  | wall between passage and sport room |  |  |  | 1 | 11.5 |  | 4.8 | 55.2
|  | wall between common room and sport room |  |  |  | 1 | 4.425 |  | 4.8 | 21.24
|  | Room floor and steps |  |  |  | 1 | 14 | 10.515 |  | 147.21
Deduction
|  | Doors |  |  |  | -2 | 1 |  | 2.1 | -4.2
|  | Doors |  |  |  | -2 | 0.9 |  | 2.1 | -3.78
|  | existing control room |  |  |  | -1 | 3.3 | 1.915 |  | -6.3195
|  | 12mm thick Glass partition | [7 empty] | -21.94
|  | Total Area of above frames | [7 empty] | 231.0425
|  | Frame single unit size (0.6X0.6=0.36Sqm) | [7 empty] | 0.36
|  | (A) Nos of units | [7 empty] | 641.7847
|  | (B) Weight of frame per unit as per Annexure-A (kg) | [7 empty] | 3.0144
|  | (C) weight of frame (AXB) | [7 empty] | 1934.5959
For flooring frame legs
|  | billiard room floor leg length |  |  |  | 126 |  |  | 0.6 | 75.6
|  | table tennice room floor leg length |  |  |  | 234 |  |  | 0.9 | 210.6
|  | (D)Total Length of legs | [7 empty] | 286.2
|  | (E) leg unit weight (2.512 kg/m) as per Annexure-A | [7 empty] | 2.512
|  | (F) total weight (DXE) | [7 empty] | 718.9344
|  | Total C+F | [7 empty] | 2653.5303 | 101 | Kg | 268006.5569
.
22 | Non SOR Item (Ref - 9.150 , Pg 157 MP PWD in force from August 1st 2014) | Providing and fixing plain lining with necessary screws/nuts and bolts/ nails including a coat of approved primer on one face and fixed on wooden /steel frame work complete as per direction of Engineer-in-charge. (Frame work shall be paid for separately) 9.150.1 12mm thick commercial ply conforming to IS : 1328 BWRtype. | [8 empty] | 1040 | Sqm | 491071.88
|  | wall between both sport room |  |  |  | 2 | 9.09 |  | 4.8 | 87.264
|  | wall between passage and sport room |  |  |  | 2 | 11.5 |  | 4.8 | 110.4
|  | wall between common room and sport room |  |  |  | 2 | 4.425 |  | 4.8 | 42.48
|  | Room floor and steps (over frame work in two layers ) |  |  |  | 2 | 14 | 10.515 |  | 294.42
|  | 12mm thick Glass partition | [7 empty] | -43.88
Deduction
|  | Doors |  |  |  | -4 | 1 |  | 2.1 | -8.4
|  | Doors |  |  |  | -2 | 0.9 |  | 2.1 | -3.78
|  | existing control room |  |  |  | -1 | 3.3 | 1.915 |  | -6.3195
|  | Total | [7 empty] | 472.1845
.
23 | Non SOR Item (Ref - 9.32 , Pg 138 MP PWD in force from August 1st 2014) | Providing and fixing plywood 4 mm thick one side decorative veneer conforming to IS: 1328 (type-I) for plain lining /cladding with necessary screws, pnmmg coat on unexposed surface with: 9.32.1 Decorative veneer facings of approved manufacture.
|  | wall between both sport room |  |  |  | 3 | 9.09 |  | 4.8 | 130.896
|  | wall between passage and sport room |  |  |  | 1 | 11.5 |  | 4.8 | 55.2
|  | wall between common room and sport room |  |  |  | 4 | 4.425 |  | 4.8 | 84.96
|  | 12mm thick Glass partition | [7 empty] | -21.94
Deduction
|  | Doors |  |  |  | -4 | 1 |  | 2.1 | -8.4
|  | Doors |  |  |  | -2 | 0.9 |  | 2.1 | -3.78
|  | existing control room |  |  |  | -1 | 3.3 | 1.915 |  | -6.3195
|  | Total | [7 empty] | 230.6165 | 1068 | Sqm | 246298.422
24 | 9.1 Vol. 2, Pg 85 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position : | [8 empty] | 83137 | Cum | 8433.2094
9.1.1 Second class teak wood
|  | Table tennis room glass partion |  |  |  | 1 | 14.4 | 0.075 | 0.05 | 0.054
|  | Billiards room glass partion |  |  |  | 1 | 12.65 | 0.075 | 0.05 | 0.047438
|  | Total | [7 empty] | 0.10144
25 | 14.70 Vol. 2, Pg 175 | Melamine polishing on wood work (one or more coat). | [8 empty] | 60 | Sqm | 284.025
|  | Table tennis room glass partion |  |  |  | 1 | 14.4 |  | 0.175 | 2.52
|  | Billiards room glass partion |  |  |  | 1 | 12.65 |  | 0.175 | 2.2138
|  | Total | [7 empty] | 4.7338
26 | 13.67 Vol. 2, Pg 164 | Varnishing with varnish of approved brand and manufacture: 13.67.1 Two or more coats of glue sizing with copal varnish over an under coat of flatting varnish. | [8 empty] | 66 | Sqm | 312.4275
|  | Table tennis room glass partion |  |  |  | 1 | 14.4 |  | 0.175 | 2.52
|  | Billiards room glass partion |  |  |  | 1 | 12.65 |  | 0.175 | 2.2138
|  | Total | [7 empty] | 4.7338
|  | Total | [10 empty] | 1637236.1048

## ANNEXURE-A
ANNEXURE-A
Details of Reinforcement for thin concrete layer over steps
6mm dia Steel bar
thin concrete layer | Dia. of bar | No. of bar | Area of bar | Length of bar | Volume of bar | Density of steel | Wt. in (Kg) | Remarks
| (mm) |  | (m2) | (m) | (m3) | Kg/m3
at 250mm C/C both ways | 6 | 10 | 0.00028274 | 1 | 0.00028274 | 7850 | 2.2195 | over steps
[6 empty] | sum= | 2.2195 | kg/sqm
[6 empty] | Total floor area | 165.55 | Sqm
[7 empty] | 367.4441 | Kg
|  |  | Toilet beam Reinforcement |  | 160 kg/cum
|  |  | Lintel beam Reinforcement |  | 160 kg/cum
Weight of Steel work for partition/flooring
| length (m) | Area of tube cross section (m2) | Volume of tube (m3) | Density of steel , Kg/m3 | Number of members in a 0.6 X 0.6m square | Total weight of frame of 0.6 X 0.6m square
| 0.6 | 0.00032 | 0.000192 | 7850 | 2 | 3.0144 | Kg
Weight of leg for Steel frame work for flooring
| length (m) | Area of tube cross section (m2) | Volume of tube (m3) | Density of steel , Kg/m3 | Number of members in a 0.6 X 0.6m square | Total weight of frame of 0.6 X 0.6m square
| 1 | 0.00032 | 0.00032 | 7850 | 1 | 2.512 | Kg/m